======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-034

ROOM NAME:

Driveway

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Driveway serves as the primary vehicle access area while

supporting security surveillance, vehicle detection, smart gate

integration, lighting control, and future exterior technology

expansion.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Driveway installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Driveway shall follow this standard.

======================================================================

ROOM FUNCTION

Vehicle Access

Security Zone

Smart Exterior Area

Future Expansion Corridor

======================================================================

STANDARD INFRASTRUCTURE

Vehicle Camera Locations

1

(Standard)

--------------------------------------------------

ENT Conduit

2

2" ENT

Future Expansion

--------------------------------------------------

Cat6

2

Home Run

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Outdoor Access Point

Optional

Installed when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

======================================================================

CAMERA REQUIREMENTS

Standard

Driveway Camera

--------------------------------------------------

Optional

License Plate Camera

--------------------------------------------------

Optional

Gate Camera

======================================================================

SECURITY REQUIREMENTS

Optional

Vehicle Detection Sensor

--------------------------------------------------

Optional

Gate Contact

--------------------------------------------------

Optional

Perimeter Motion Detection

======================================================================

SMART HOME OPTIONS

Optional

Gate Automation

--------------------------------------------------

Optional

Driveway Lighting Control

--------------------------------------------------

Optional

EV Charger Network Connection

--------------------------------------------------

Optional

Vehicle Arrival Automation

======================================================================

ASSEMBLIES

Required

ASM-TUBE-003

Future Expansion Conduit

--------------------------------------------------

Required

ASM-DATA-001

Dual Cat6

--------------------------------------------------

Required

ASM-CAM-006

Driveway Camera

--------------------------------------------------

Optional

ASM-SEC-011

Vehicle Detection

--------------------------------------------------

Optional

ASM-AP-002

Outdoor Wireless Access Point

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Expansion Conduits Installed

□ Two Cat6 Installed

□ Camera Wiring Installed

□ Exterior Devices Weather Protected

□ Exterior Penetrations Sealed

□ Proper Labeling

□ Camera Coverage Verified

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ License Plate Recognition Camera

□ Additional Driveway Camera

□ Vehicle Detection Sensor

□ Gate Automation

□ Wireless Access Point

□ Smart Lighting

□ EV Charger Network Connection

□ Additional Expansion Conduit

======================================================================

ROOM DESIGN RULES

1.

Every Driveway shall receive two future expansion

conduits where practical.

--------------------------------------------------

2.

Driveway camera placement shall maximize vehicle

coverage while minimizing blind spots.

--------------------------------------------------

3.

All exterior products shall be weather-rated.

--------------------------------------------------

4.

All exterior penetrations shall be sealed against

water intrusion.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-034

======================================================================