======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-037

ROOM NAME:

Gate / Perimeter Entrance

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Gate / Perimeter Entrance serves as the controlled vehicle and

pedestrian access point to the property while supporting security,

visitor communication, automation, and future expansion.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Gate or Perimeter Entrance installed by Digitally

Defined.

Unless specifically overridden by an approved site plan revision,

every Gate Entrance shall follow this standard.

======================================================================

ROOM FUNCTION

Controlled Property Access

Vehicle Entry

Visitor Communication

Perimeter Security

======================================================================

STANDARD INFRASTRUCTURE

Gate Operator

Optional

--------------------------------------------------

ENT Conduit

2

2" ENT

Future Expansion

--------------------------------------------------

Cat6

2

Home Run

--------------------------------------------------

RG6

None

--------------------------------------------------

Fiber

Optional

Long-Distance Gate Runs

--------------------------------------------------

Equipment Location

Gate Control Cabinet

(Optional)

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Outdoor Access Point

Recommended

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Gate Intercom

--------------------------------------------------

Upgrade Option

Video Intercom

======================================================================

CAMERA REQUIREMENTS

Required

Vehicle Camera

--------------------------------------------------

Required

Visitor Camera

--------------------------------------------------

Optional

License Plate Recognition Camera

======================================================================

SECURITY REQUIREMENTS

Required

Gate Contact

--------------------------------------------------

Required

Gate Position Sensor

--------------------------------------------------

Optional

Vehicle Loop Detector

--------------------------------------------------

Optional

Exit Probe

======================================================================

SMART HOME OPTIONS

Optional

Gate Automation

--------------------------------------------------

Optional

Remote Gate Access

--------------------------------------------------

Optional

Smart Visitor Notifications

--------------------------------------------------

Optional

Package Delivery Access

======================================================================

ASSEMBLIES

Required

ASM-TUBE-003

Future Expansion Conduit

--------------------------------------------------

Required

ASM-DATA-001

Dual Cat6

--------------------------------------------------

Required

ASM-CAM-008

Gate Camera

--------------------------------------------------

Required

ASM-SEC-012

Gate Monitoring

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-SMART-010

Gate Automation

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Expansion Conduits Installed

□ Two Cat6 Installed

□ Camera Wiring Installed

□ Gate Sensors Installed

□ Exterior Devices Weather Protected

□ Exterior Penetrations Sealed

□ Proper Labeling

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Gate Automation

□ Video Intercom

□ License Plate Recognition

□ Vehicle Loop Detection

□ Wireless Access Point

□ Remote Gate Access

□ Smart Visitor Notifications

□ Additional Expansion Conduit

======================================================================

ROOM DESIGN RULES

1.

Every Gate Entrance shall receive two future

expansion conduits.

--------------------------------------------------

2.

Every Gate Entrance shall receive two Cat6 home runs

as the company standard.

--------------------------------------------------

3.

Gate automation shall always include manual override

capability.

--------------------------------------------------

4.

All exterior products shall be weather-rated.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-037

======================================================================