======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-038

ROOM NAME:

Roof / Attic Infrastructure

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Roof / Attic Infrastructure serves as the primary routing path

for structured wiring, future technology expansion, wireless

coverage, exterior surveillance, and low-voltage distribution.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Roof and Attic space utilized by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Roof / Attic installation shall follow this standard.

======================================================================

ROOM FUNCTION

Cable Distribution Path

Future Expansion Zone

Exterior Device Access

Infrastructure Support

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

ENT Conduit

As Required

Minimum

Two Future Expansion Paths

--------------------------------------------------

Cat6

Pass-Through Only

--------------------------------------------------

RG6

Pass-Through Only

--------------------------------------------------

Fiber

Optional

Future Backbone

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Supports Ceiling Access Points

--------------------------------------------------

Dedicated Access Point

Installed only where shown on engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Pass-Through Only

======================================================================

CAMERA REQUIREMENTS

Supports:

• Exterior Cameras

• Soffit Cameras

• Eave Cameras

• Roofline Cameras

======================================================================

SECURITY REQUIREMENTS

Supports:

• Exterior Motion Sensors

• Perimeter Devices

======================================================================

SMART HOME OPTIONS

Supports Future Expansion For:

• Solar Monitoring

• Weather Station

• Lightning Protection

• Exterior Automation

======================================================================

ASSEMBLIES

Required

ASM-TUBE-003

Expansion Conduit

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-AP-003

Ceiling Access Point

--------------------------------------------------

Optional

ASM-CAM-009

Roof Camera Access

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

If Applicable

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Conduit Installed

□ Expansion Paths Accessible

□ Proper Stapling

□ Bend Radius Maintained

□ Fire Blocking Restored

□ Cable Protection Installed

□ Labeling Verified

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Fiber Backbone

□ Additional Expansion Conduit

□ Ceiling Access Point

□ Exterior Camera Infrastructure

□ Solar Monitoring Infrastructure

□ Weather Station Infrastructure

======================================================================

ROOM DESIGN RULES

1.

The attic shall serve as the primary routing pathway

for structured wiring whenever practical.

--------------------------------------------------

2.

Future expansion conduits shall always be preserved.

--------------------------------------------------

3.

Cables shall remain protected from physical damage.

--------------------------------------------------

4.

Fire-rated assemblies shall be restored after cable

installation.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All infrastructure shall remain accessible for future

service and expansion.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

DD-063 Installation Production Manual

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-038

======================================================================