======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-039

ROOM NAME:

Structured Wiring Closet / Network Closet

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Structured Wiring Closet serves as the home's primary low-

voltage distribution center and the central termination point for

all structured cabling, networking equipment, security systems,

audio distribution, and future technology expansion.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Structured Wiring Closet installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Structured Wiring Closet shall follow this standard.

======================================================================

ROOM FUNCTION

Technology Distribution Center

Network Hub

Security Hub

Audio Distribution Hub

Future Expansion Area

======================================================================

STANDARD INFRASTRUCTURE

Structured Wiring Panel

Required

42" Minimum

--------------------------------------------------

Equipment Rack

Optional

Based on Builder Package

--------------------------------------------------

Backboard

Required

3/4" Fire-Rated Plywood

--------------------------------------------------

ENT Conduit

Minimum (4)

2" Future Expansion

--------------------------------------------------

Cat6

All Home Runs Terminate Here

--------------------------------------------------

RG6

All Home Runs Terminate Here

--------------------------------------------------

Fiber

Optional

Future Backbone

--------------------------------------------------

Dedicated Power

Required

120V Dedicated Circuit

(Supplied by Electrical Contractor)

======================================================================

NETWORK REQUIREMENTS

Router

Installed Here

--------------------------------------------------

Network Switch

Installed Here

--------------------------------------------------

Patch Panel

Installed Here

--------------------------------------------------

UPS Battery Backup

Optional

--------------------------------------------------

Rack Cooling

Optional

======================================================================

AUDIO OPTIONS

Optional

Audio Matrix

--------------------------------------------------

Optional

Amplifier Rack

======================================================================

CAMERA REQUIREMENTS

Optional

NVR Installation

--------------------------------------------------

Optional

PoE Camera Switch

======================================================================

SECURITY REQUIREMENTS

Optional

Alarm Panel

--------------------------------------------------

Optional

Cellular Communicator

--------------------------------------------------

Optional

Security Power Supply

======================================================================

SMART HOME OPTIONS

Optional

Automation Controller

--------------------------------------------------

Optional

Lighting Processor

--------------------------------------------------

Optional

Voice Automation Hub

--------------------------------------------------

Optional

Remote Monitoring Gateway

======================================================================

ASSEMBLIES

Required

ASM-RACK-001

Structured Wiring Panel

--------------------------------------------------

Required

ASM-DATA-004

Network Distribution

--------------------------------------------------

Required

ASM-TUBE-003

Expansion Conduit

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-UPS-001

Battery Backup

--------------------------------------------------

Optional

ASM-RACK-002

Equipment Rack

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

From Package Library

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Structured Panel Installed

□ Equipment Rack Installed

(If Applicable)

□ Dedicated Power Verified

□ Expansion Conduits Installed

□ Cable Management Complete

□ All Home Runs Properly Labeled

□ Patch Panel Verified

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Full Equipment Rack

□ UPS Battery Backup

□ Rack Cooling

□ Fiber Backbone

□ Audio Distribution Rack

□ Security Panel

□ Home Automation Controller

□ Additional Expansion Conduits

======================================================================

ROOM DESIGN RULES

1.

Every home shall contain one primary structured

wiring location.

--------------------------------------------------

2.

Every structured cable shall terminate in this

location.

--------------------------------------------------

3.

Future expansion space shall always be maintained.

--------------------------------------------------

4.

Equipment shall remain accessible for service.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

This room serves as the central technology hub for

the entire home.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

DD-063 Installation Production Manual

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-039

======================================================================