======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-805

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-NOT-001

--------------------------------------------------

ASSEMBLY NAME

Sirens, Strobes & Alarm Notification Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Alarm Notification Appliances

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-801 Intrusion Detection Control Panel Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Sirens, Strobes & Alarm Notification Assembly

establishes the engineering standard for installing,

configuring, testing, documenting, and commissioning

alarm notification appliances within Digitally

Defined intrusion detection systems.

The assembly standardizes audible notification,

visual notification, programmable outputs, emergency

annunciation, supervised notification circuits, and

alarm sequencing while ensuring reliable occupant

notification and code-compliant operation.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Intrusion control panel operational.

• Notification zones engineered.

• Power calculations completed.

• Occupancy requirements reviewed.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Retail

• Warehouses

• Educational Facilities

• Industrial Buildings

======================================================================

STANDARD SCOPE

Includes

• Interior Sirens

• Exterior Sirens

• Piezo Sounders

• Horn/Strobes

• Visual Indicators

• Voice Annunciation Devices

• Notification Outputs

• Documentation

• Commissioning

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Audible Notification

Verified

--------------------------------------------------

Visual Notification

Verified

--------------------------------------------------

Circuit Supervision

Continuous

--------------------------------------------------

Output Activation

Verified

--------------------------------------------------

Battery Load

Verified

--------------------------------------------------

Alarm Reporting

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Readiness

--------------------------------------------------

Reliability

Immediate alarm notification

--------------------------------------------------

Expandability

Supports future notification devices

--------------------------------------------------

Maintenance Accessibility

Accessible for servicing

--------------------------------------------------

Acceptance Criteria

Notification appliances shall activate reliably,

provide adequate audible and visual indication,

maintain supervised operation, and comply with

engineering requirements.

======================================================================

SUPPORTED NOTIFICATION DEVICES

Audible

• Interior Siren

• Exterior Siren

• Piezo Sounder

• Electronic Horn

• Voice Annunciator

--------------------------------------------------

Visual

• LED Strobe

• Xenon Strobe

• Status Indicator

• Alarm Beacon

======================================================================

NOTIFICATION REQUIREMENTS

Sound Pressure Level

Per engineering design

--------------------------------------------------

Coverage Area

Verified

--------------------------------------------------

Visual Coverage

Verified

--------------------------------------------------

Notification Priority

Configured

--------------------------------------------------

Output Timing

Verified

--------------------------------------------------

Synchronization

Verified where applicable

======================================================================

OUTPUT CIRCUITS

Output Supervision

Required

--------------------------------------------------

Relay Outputs

Verified

--------------------------------------------------

Programmable Outputs

Configured

--------------------------------------------------

Notification Sequencing

Configured

--------------------------------------------------

Load Calculations

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Output Capacity

Minimum 20% reserve

--------------------------------------------------

Power Capacity

Minimum 25% reserve

--------------------------------------------------

Battery Capacity

Verified

--------------------------------------------------

Future Expansion

Additional sirens

Voice evacuation

Mass notification

Outdoor warning systems

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Output Monitoring

Continuous

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

--------------------------------------------------

Alarm Event Protection

Required

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review notification plan

• Verify appliance locations

• Verify SPL requirements

• Verify visual coverage

--------------------------------------------------

MATERIAL VERIFICATION

• Sirens verified

• Strobes verified

• Mounting hardware verified

• Wiring verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable routing

• Verify conduit

• Verify supervised circuits

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install appliances

• Secure mounting

• Connect supervised outputs

• Label wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure outputs

• Configure alarm timing

• Configure sequencing

• Configure supervision

--------------------------------------------------

TESTING & COMMISSIONING

• Verify audible output

• Verify visual output

• Verify synchronization

• Verify output supervision

• Verify battery operation

• Verify reporting

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Audible notification verified

□ Visual notification verified

□ Output supervision verified

□ Alarm sequencing verified

□ Battery capacity verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Devices secure

□ Labels complete

□ Wiring protected

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Notification Appliance Schedule

□ Output Configuration

□ Load Calculation Report

□ Alarm Sequence Matrix

□ Functional Test Report

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Notification Devices

Manufacturer Warranty

Infrastructure

25+ Years

Annual functional testing recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Supervised Outputs

• Alarm Outputs

• Relay Outputs

• Visual Notification

• Audible Notification

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Sound Level Meter

• Multimeter

• Ladder

• Laptop

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Output circuits verified

--------------------------------------------------

Security

□ Notification strategy approved

--------------------------------------------------

Customer

□ Audible notification levels approved

--------------------------------------------------

Builder

□ Mounting locations verified

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-806 Alarm Communication &

Central Station Monitoring Assembly

ASM-807 Intrusion System Integration &

Automation Assembly

ASM-808 Life Safety &

Environmental Detection Assembly

ASM-809 Intrusion Detection Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Notification appliances shall provide complete

coverage of the engineered protection area.

--------------------------------------------------

2.

Audible notification levels shall comply with the

approved engineering design and applicable codes.

--------------------------------------------------

3.

Notification output circuits shall remain supervised

at all times.

--------------------------------------------------

4.

Battery calculations shall include notification load

requirements during alarm conditions.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include sound level

verification, QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Insufficient audible coverage

• Poor strobe visibility

• Unsupervised output circuits

• Overloaded notification circuits

• Incorrect alarm sequencing

• Missing battery load calculations

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

UL 464 Standards

UL 1971 Standards

False Alarm Reduction Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-805

======================================================================